FIRE SAFETY PROCEDURE

General Fire Safety

A Fire Alarm call point are situated in the -   	                    Fire Extinguishers can be found in the -

Next to the Fire control panel – main entrance 		       Front main entrance

Top of the stairs					                   Top of the Stairs

Bottom of the stairs by fire exit				       Bottom of stairs by side Fire door

Ground floor corridor by Fire exit				       Ground floor corridor by fire exit

Nr French door in SS nr garden area		                   Coffee/staff room upstairs

A fire blanket is located in both kitchen areas.  Smoke detectors are situated around the building.

Emergency lighting is checked on a regular basis.

The Fire Extinguisher maintenance company is TH White.

FIRE DRILL PROCEDURE

ALL FIRE EXITS MUST BE KEPT CLEAR

- ON DISCOVERING A FIRE - SHOUT FIRE AND PRESS THE NEAREST FIRE ALARM CALL POINT

- SAFELY ESCORT THE CHILDREN YOU HAVE WITH YOU AND LEAVE THE BUILDING AS QUICKLY AND QUIETLY AS POSSIBLE BY THE NEAREST MOST APPROPRIATE SAFE EXIT.

PLAYROOMS INCLUDING SENSORY ROOMS - EVACUATE BY THE DOOR TO THE GARDEN OR MAIN ENTRANCE

GROUND FLOOR OFFICES- EVACUATE THROUGH PLAYROOMS OR MAIN ENTRANCE

FIRST FLOOR -	DO NOT USE THE LIFT

EVACUATE DOWN THE STAIRS THROUGH STAIR WELL FIRE EXIT

ADMIN -       TO COLLECT CHILDREN’S CONTACT DETAILS AND MOBILE PHONE,

HELP EVACUATE BUILDING

MANAGER/ PLAYROOM MANAGER –

TO COLLECT CHILDREN’S/STAFF REGISTER, VISITORS SIGN IN LOG, GRAB BAG

HELP   EVACUATE BUILDING – CHECK ALL ROOMS ARE CLEAR AND CLOSE DOORS.

EVERYONE TO PROCEED TO THE BASKETBALL COURT AT THE FRONT OF THE BUILDING

REGISTER TO BE CALLED

- DIAL 999 STATING OUR ADDRESS:-

LONGFIELD CHILDREN’S CENTRE, BROADCLOTH LANE, TROWBRIDGE, WILTSHIRE, BA14  7HE

Place of safety in the event that the building is unsafe to return to is Willowbrook, Longmeadow School Hall.